VAG BAIO®plus System
VAG BAIO®MMN-part

Product feature
• With socket connection on the side for connection with VAG BAIO®plus System parts or pipe spigot
• With socket connection on the top for connection with a BAIO® spigot-end hydrant
- Sockets designed for interior and exterior interlocking
• Also available with side outlets for house connections

Materials and corrosion protection
• Ductile cast iron EN - JS 1030 (GGG-40)
• Inside and outside epoxy coating

Field of application
• Water distribution / water supply