VAG BAIO®plus System
VAG BAIO®S-part

Product feature
• Connection form piece with spigot ends on either side - Spigot end with interlocking cams

Materials and corrosion protection
• Ductile cast iron EN - JS 1030 (GGG-40)
• Inside and outside epoxy coating

Field of application
• Water distribution / water supply