VAG BAIO®plus System
VAG BAIO®SM-part

Product feature
• Spigot-socket form piece
• Socket designed for interior and exterior interlocking
• Spigot end with interlocking cams for interior interlocking
• Used for hydrant extensions as a transition piece to PE-HD pipes with other diameters and to other extensions in the VAG BAIO®plus System

Materials and corrosion protection
• Ductile iron EN - JS 1030 (GGG-40)
• Inside and outside epoxy coating

Field of application
• Water distribution / water supply