VAG BAIO®plus System
VAG BAIO®P-part Spigot end cap

Product features
• To close BAIO®plus double-function sockets (e.g. during pressure tests)
• Spigot with interlocking cams
• With test and vent plug

Materials and corrosion protection
• Ductile iron EN - JS 1030 (GGG-40)
• Inside and outside epoxy coating

Field of application
• Water distribution / water supply